## jobs_perfect.csv
customerName | phone | postalCode | address | unitNo | jobTypeId | priority | windowStart | windowEnd | note
Raffles Place Capital | 91234567 | 48616 | 1 Raffles Place | #12-01 | WATER_LEAK | urgent | 9:00 | 12:00 | Severe water leaking from ceiling fan coil in server room
Tan Household (Simei) | 92345678 | 520123 | Simei St 1 | #04-12 | GENERAL_SERVICE | on_demand | 14:00 | 16:30 | Routine maintenance and filter cleaning for 3 bedrooms
Jurong Gateway Offices | 83456789 | 608549 | Jurong Gateway Rd | #09-22 | CRITICAL_HVAC_ELECTRICAL | urgent | 8:30 | 11:30 | Inverter tripped with burning smell. Needs master tech with spare inverter board
Causeway Point Clinic | 94567890 | 738099 | Woodlands Square | #02-15 | GAS_TOPUP | on_demand | 13:00 | 15:30 | Aircon blowing room temperature air. R32 refrigerant low pressure detected
Bishan Park Condo MCST | 85678901 | 570123 | Bishan St 13 | #01-05 | CHEMICAL_WASH | when_available | 10:00 | 13:00 | Chemical wash for management office unit before annual inspection